## Index
Index |  | ISO/FSRS Summary Evaluation Analysis based on the 2012 Fire Suppression Rating Schedule
| Tab | Subject
| 1 | ISO/FSRS Summary Evaluation Analysis
| 400 | Item 440 - Credit for Emergency Communications (CEC) - Summary
| 410 | Item 410 - Credit for Emergency Reporting (CER)
| 422 | Item 422 - Credit for Telecommunicators (CTC)
| 432 | Item 432 - Credit for Dispatch Circuits (CDC)
| 590 | Item 590 - Fire Department Credit (CFD)
| 580 - T | Item 580 - Credit for Training
| 730 | Item 730 - Credit for Operational Considerations (COC)
| 640 | Item 640 - Credit for Water Supply
| 1050 | Item 1050 - Credit for Community Risk Reduction (CCRR) - Summary
| 1025 | Item 1025 - Credit for Fire Prevention Code & Enforcement (CPCE)
| 1033 | Item 1033 - Credit for Fire Safety Education Programs (CFSE)
| 1044 | Item 1044 - Credit for Fire Investigation Programs (CIP)
| X | 1980 - 2012 Schedule Conversion Calculator
| Y | Divergence Calculator - Actual
| Z | Divergence Calculator -With Future Improvements
Reference Materials
| 507 | Automatic Aid (AA1) Credit Calculator
| T - 512 | Table 512A - Pumper Equipment and Hose
| T - 542 | Table 542A - Equipment for a Service Company

## 1
ISO/FSRS Summary Evaluation Analysis |  |  | Your City Here | [5 empty] | ISO/FSRS Summary Evaluation Analysis |  |  | Public Classification Protection Rating
Earned Credit | Credit Available | 2012 Schedule | [6 empty] | Earned Credit | Credit Available | 2012 Schedule - What If…..
[12 empty] | PPC | Points
Emergency Communications | [8 empty] | Emergency Communications |  |  | 1 | 90 | or | More
0 | 3 | 414. Emergency Reporting | Public Protection Classification (PPC) Rating | [5 empty] | 0 | 3 | 414. Emergency Reporting | 2 | 80 | to | 89.99
0 | 4 | 422. Telecommunicators | [6 empty] | 0 | 4 | 422. Telecommunicators | 3 | 70 | to | 79.99
0 | 3 | 432. Dispatch Circuits |  | 2012 Schedule |  |  | 2012 Schedule What If …. |  | 0 | 3 | 432. Dispatch Circuits | 4 | 60 | to | 69.99
0 | 10 | 440. Credit for Emergency Communications | [6 empty] | 0 | 10 | 440. Credit for Emergency Communications | 5 | 50 | to | 59.99
0 |  |  |  | 0 |  | Credit | 0 |  |  |  |  | 6 | 40 | to | 49.99
Fire Department | [8 empty] | Fire Department |  |  | 7 | 30 | to | 39.99
0 | 6 | 513. Engine Companies |  | 10 |  | PPC Rating | 10 |  | 0 | 6 | 513. Engine Companies | 8 | 20 | to | 29.99
0 | 0.5 | 523. Reserve Engine Companies | [6 empty] | 0 | 0.5 | 523. Reserve Engine Companies | 9 | 10 | to | 19.99
0 | 3 | 532. Pumper Capacity | [6 empty] | 0 | 3 | 532. Pumper Capacity | 10 | 0 | to | 9.99
0 | 4 | 549. Ladder/Service Companies | [6 empty] | 0 | 4 | 549. Ladder/Service Companies
0 | 0.5 | 553. Reserve Ladder/Service Trucks |  | Class | Rating System Component |  | Class |  | 0 | 0.5 | 553. Reserve Ladder/Service Trucks
0 | 10 | 561. Deployment Analysis | [6 empty] | 0 | 10 | 561. Deployment Analysis
0 | 15 | 571. Company Personnel | 0 | 10 | Emergency Communications |  | 10 | 0 | 0 | 15 | 571. Company Personnel
0 | 9 | 581. Training | [6 empty] | 0 | 9 | 581. Training
0 | 2 | 730. Operational Considerations | 0 | 10 | Fire Department |  | 10 | 0 | 0 | 2 | 730. Operational Considerations
0 | 50 | 590. Credit for Fire Department | [6 empty] | 0 | 50 | 590. Credit for Fire Department
0 |  |  | 0 | 10 | Water Supply System |  | 10 | 0
Water Supply | [8 empty] | Water Supply
0 | 30 | 616. Supply System | 0 | 10 | Community Risk Reduction |  | 10 | 0 | 0 | 30 | 616. Supply System
0 | 3 | 621. Hydrants | [6 empty] | 0 | 3 | 621. Hydrants
0 | 7 | 631. Inspection and Flow Testing | [6 empty] | 0 | 7 | 631. Inspection and Flow Testing
0 | 40 | 640. Credit for Water Supply | [6 empty] | 0 | 40 | 640. Credit for Water Supply
0
0 | Divergence Points | [7 empty] | 0 | Divergence Points
0
Community Risk Reduction | [8 empty] | Community Risk Reduction
0 | 2.2 | 1025. Fire Prevention Code & Enforcement | [6 empty] | 0 | 2.2 | 1025. Fire Prevention Code & Enforcement
0 | 2.2 | 1033. Public Fire Safety Education | [6 empty] | 0 | 2.2 | 1033. Public Fire Safety Education
0 | 1.1 | 1044. Fire Investigation Programs | [6 empty] | 0 | 1.1 | 1044. Fire Investigation Programs
0 | 5.5 | 1050. Credit for Community Risk Reduction | [6 empty] | 0 | 5.5 | 1050. Credit for Community Risk Reduction
0
0

## 400
|  | 0 | 0
| Credit Available | Your Score | With Future Improvements
Item 440 - Credit for Emergency Communications (CEC) | 10 | 0 | 0
414 - Credit for Emergency Reporting (CER) | 3 | 0 | 0
422 - Credit for Telecommunicators (CTC) | 4 | 0 | 0
431 - Credit for Dispatch Circuits (CDC) | 3 | 0 | 0

## 410
|  | 0 |  | 0
| Credit Available | Your Score | Maximum Points Directly on FSRS | With Future Improvements
Item 410 - Credit for Emergency Reporting (CER) | 3 | 0 | 3 | 0
Emergency Reporting System (ERS1) | 10 | 0 | 0.3 | 0
A. Basic 9-1-1 or no 9-1-1 | 10 |  | 0.3
Enter data in only the top section (ERS1) OR in the bottom section (ERS2)
Emergency Reporting System (ERS2) | 100 | 0 | 3 | 0
B. Enhanced 9-1-1 | 20 |  | 0.6
1. E9-1-1 Wireless (EW) | 25 |  | 0.75
2. E9-1-1 Voice Over Internet Protocol (EI) | 25 |  | 0.75
3. Computer Aided Dispatch (CAD) | 15 |  | 0.45
4. Geographic Information Systems (GIS/AVL) | 15 |  | 0.45
|  | 0 |  | 0
Next Section

## 422
|  | 0 |  | 0
| Credit Available | Your Score | Maximum Points Directly on FSRS | With Future Improvements
Item 422 - Credit for Telecommunicators (CTC) | 4 | 0 | 4 | 0
Telecommunicator Performance (TCP) | 100 | 0 | 4 | 0
A1. Alarm Receipt (AR) | 20 |  | 0.8
A2. Alarm Processing (AP) | 20 |  | 0.8
B. Emergency Dispatch Protocols for Fire Service (EDP) | 20 |  | 0.8
C. Telecommunicator Training and Certifications (TTC) | 20 |  | 0.8
D. Telecommunicator Continuing Education/Quality Assurance (TQA) | 20 |  | 0.8
Next Section

## 432
|  | 0 |  | 0
| Credit Available | Your Score | Maximum Points Directly on FSRS | With Future Improvements
Item 432 - Credit for Dispatch Circuits (CDC) | 3 | 0 | 3 | 0
Review of Dispatch Circuits (RDC) | 100 | 0 | 3 | 0
431A - Dispatch Circuits Provided | <MAX 40 Points> | 0 | 1.2 | 0
Voice radio | 40 |  | 1.2
Circuit indicates only box number/street intersection | 20 |  | 0.6
Voice receivers under direct control of AHJ | 40 |  | 1.2
Alphanumeric receivers under direct control of AHJ | 40 |  | 1.2
Outside Coded Sounding Device | 20 |  | 0.6
Outside Noncoded Sounding Device | 10 |  | 0.3
No Circuit Provided | 0 |  | 0
431B -Monitoring for Integrity of Circuit | 30 | 0 | 0.9 | 0
Monitoring for Integrity of Circuit | 30 |  | 0.9
431C - Emergency Power Supply System | <MAX 30 Points> | 0 | 0.9 | 0
Automatically started generator | 20 |  | 0.6
When used with UPS | 10 |  | 0.3
Manually started generator | 20 |  | 0.6
When used with UPS | 10 |  | 0.3
Central battery system plus manually started generator | 10 |  | 0.3
Central battery system only | 10 |  | 0.3
Comply with NFPA#1221 - strength and duration add: | 20 |  | 0.6
No emergency power provided | 0 |  | 0
Item 432 - Credit for Dispatch Circuits | Directly from report
Use this only when there is no detail provided.
Next Section

## 590
|  | 0 | 0
| Credit Available | Your Score | With Future Improvements
Item 590 - Fire Department Credit (CFD) | 50 | 0 | 0
Item 513 - Credit for Engine Companies (CEC) | 6
Item 523 - Credit for Reserve Pumpers (CRP) | 0.5
Item 532 - Credit for Pump Capacity (CPC) | 3
Item 549 - Credit for Ladder Service (CLS) | 4
Item 553 - Credit for Reserve Ladder and Service Trucks (CRLS) | 0.5
Item 561 - Credit for Deployment Analysis (CDA) | 10
Item 571 - Credit for Company Personnel (CCP) | 15
Item 581 - Credit for Training (T) | 9 | 0 | 0
Item 730 - Operational Considerations (OC) | 2 | 0 | 0
Number of Engines that the FSRS Recognizes are in Service
Number of Ladder Companies that the FSRS Recognizes are in Service
Number of Service Companies that the FSRS Recognizes are in Service
Number of On-Duty Personnel Recognized by the FSRS
Number of On-Call Personnel Recognized by the FSRS
Next Section

## 580 - Training
0
Item 580 - Credit for Training | Credit Available | Your Score | Maximum Points Directly on FSRS | Your What If…
Training Evaluation | 9 | 0 | 9 | 0
A. Training Facilities & Use (T1) | 35 |  | 0
Facilities (FA) |  |  | 3.15
Live Fire Training Facility, including smoke room. | 17 |  | 1.53
Drill Tower at least 3 stories in height. | 10 |  | 0.9
Training Area at least 2 acres is size. | 8 |  | 0.72
Use of Facilities (U) | <Multiplier for (FA)>
Each member should attend 18 hours of training at the facility. | 1
B. Company Training Program (T2) | 25 |  | 2.25
Company training at fire stations, including training using streets, buildings and open areas, 16 hours per company member per month. | 25 |  | 2.25
C. Officer Training & Certification (T3) | 12 |  | 1.08
Certification of each current officer with responsibilities in fire suppression in accordance with the general criteria of NFPA 1021, 1521 and 1561. | 6 |  | 0.54
Continuing education for officer training on- or off-site, 12 hours per year for all officers. | 6 |  | 0.54
D. New Driver/Operator Training Program (T4) | 5 |  | 0.45
60 hours (or certification) in accordance with the general criteria of NFPA 1002 and 1451. | 5 |  | 0.45
E. Existing Driver/Operator Training Program (T5) | 5 |  | 0.45
12 hours per year. Driver and operator training should be in accordance with NFPA 1002 and 1451. | 5 |  | 0.45
F. Hazardous Materials Training Program (T6) | 1 |  | 0.09
6 hours per member per year. Hazardous materials training should be at a minimum awareness level in accordance with NFPA 472. | 1 |  | 0.09
G. Recruit Training Program (T7) | 5 |  | 0.45
240 hours within the first year of employment in accordance with NFPA 1001. Firefighters who obtain Firefighter I & II designation in accordance with NFPA 1001 meet the intent of this section. | 5 |  | 0.45
H. Building Familiarization for Pre-Incident Planning Program (T8) | 12 |  | 1.08
Annual Pre-Incident Training. The fire department should make building familiarization and pre-incident planning tours of each commercial, industrial, institutional or other similar building at least annually. Records of inspections should complete and up-to-date notes and sketches, which must be available to the responding incident commander. These plans should be in accordance with NFPA 1620. | 12 |  | 1.08
Frequency of Inspections | Points
1 Year | 1
2 Years | 0.83
3 Years | 0.67
4 Years | 0.58
5 Years | 0.42
More than 5 Years | 0
Next Section

## 730
|  | 0 |  | 0
| Credit Available | Your Score | Maximum Points Directly on FSRS | With Future Improvements
Item 730 - Credit for Operational Considerations (COC) | 2 | 0 | 2 | 0
Credit for Standard Operating Procedures (SOP) | 50 |  | 1
Credit for Incident Management System (IMS) | 50 |  | 1
Next Section

## 640
|  | 0 |  | 0
With Future Improvements
Item 640 - Credit for Water Supply | Credit Available | Earned Credit
Item 616 “Credit for Supply System (CSS)” | 30
1e-06
Item 620. Hydrants - Size, Type and Installation | Credit Available | Earned Credit | # of Hydrants | # of Hydrants | Earned Credit
A. With a 6 -inch or larger branch and a pumper outlet with or without 2½ -inch outlets | [5 empty] | #DIV/0! | #DIV/0!
B. With a 6 -inch or larger branch and no pumper outlet but two or more 2½ -inch outlets, or with a small foot valve, or with a small barrel | [5 empty] | #DIV/0! | #DIV/0!
C./D. With only a 2½ -inch outlet or with less than a 6 -inch branch | [5 empty] | #DIV/0! | #DIV/0!
E. /F. Flush Type, Cistern or suction point | [5 empty] | #DIV/0! | #DIV/0!
Item 621 “Credit for Hydrants (CH)” | 3 | 0 | 0 | 0 | 0
|  | 3 |  | With Future Improvements
Item 630 – Credit for Inspection and Flow Testing | Credit Available | Earned Credit
Total Points for Inspections | 4
Total points for Flow Testing | 3
Item 631 “Credit for Inspection and Flow Testing (CIT)” | 7 | 0 |  | 0
Item 616 “Credit for Supply System (CSS)” | 30 | 0 |  | 0
Item 621 “Credit for Hydrants (CH)” | 3 | 0 |  | 0
Item 631 “Credit for Inspection and Flow Testing (CIT)” | 7 | 0 |  | 0
Item 640. Credit for Water Supply | 40 | 0 |  | 0
Next Section

## 1050
|  | 0 | 0
| Credit Available | Your Score | With Future Improvements
Item 1050 - Credit for Community Risk Reduction (CCRR) | 5.5 | 0 | 0
Item 1025 - Credit for Fire Prevention Code & Enforcement (CPCE) | 2.2 | 0 | 0
Item 1033 - Credit for Fire Safety Education Programs (CFSE) | 2.2 | 0 | 0
Item 1044 - Credit for Fire Investigation Programs (CIP) | 1.1 | 0 | 0

## 1025
|  | 0 |  | 0
| Credit Available | Your Score | Maximum Points Directly on FSRS | Your What If…
Item 1025 - Credit for Fire Prevention Code & Enforcement (CPCE) | 2.2 | 0 | 2.2 | 0
Fire Prevention Code Adoption and Enforcement (PCE) | 40 | 0 | 2.2 | 0
Fire Prevention Code Regulations (PCR) | 10 |  | 0.55
Published Date of Adopted Codes within 5 years | 10 |  | 0.55
Published Date of Adopted Codes within 6 years | 8.6 |  | 0.47
Published Date of Adopted Codes within 10 years | 2.76 |  | 0.15
Published Date of Adopted Codes Earlier | 1.06 |  | 0.06
Fire Prevention Staffing (PS) | 8 |  | 0.44
Frequency of Inspections | 4 |  | 0.22
Fire Prevention Inspectors | 4 |  | 0.22
Fire Prevention Certification and Training (PCT) | 6 |  | 0.33
Fire Inspector Certification (PIC) | 3 |  | 0.165
Fire Inspector Continuing Education (PIE) | 3 |  | 0.165
Fire Prevention Programs (PCP) | 16 |  | 0.88
Plan Review (PPR) | 6 |  | 0.33
Inspections for Certificates of Occupancy (PCO) | 4 |  | 0.22
Quality Assurance Program (PQC) | 1 |  | 0.06
Code Compliance Follow-Up (PCF) | 1 |  | 0.06
Inspections of Private Fire Protection Equipment (PPP) | 1 |  | 0.06
Fire Prevention Ordinance (PPO) | 2 |  | 0.11
Coordination with Training and Pre-Plans (PTP) | 1 |  | 0.06
480 inspections per year per inspector under Activity Based Method
1 inspector for all jurisdictions, 1 additional inspector for each 20,000 population under the Population Based Method
Next Section

## 1033
|  | 0 |  | 0
| Credit Available | Your Score | Maximum Points on FSRS | Your What If…
Item 1033 - Credit for Fire Safety Education Programs (CFSE) | 2.2 | 0 | 2.2 | 0
Public Fire Safety Education (FSE) | 40 | 0 | 0 | 0
Fire Safety Educators Qualifications & Training (FSQT) | 10 |  | 0.55
Fire Safety Education Course (FSEC) | 5 |  | 0.275
Fire Safety Education Continuing Education (FSCE) | 5 |  | 0.275
Fire Safety Education Programs (FSP) | 30 |  | 1.65
Residential Fire Safety Program (FSPR) | 10 |  | 0.55
Education in Schools (FSPS) | 10 |  | 0.55
Juvenile Firesetter Intervention (FSPJ) | 5 |  | 0.28
Fire Safety Education - Special Occupancies (FSPL) | 5 |  | 0.28
Next Section

## 1044
|  | 0 |  | 0
| Credit Available | Your Score | Maximum Points on FSRS | Your What If…
Item 1044 - Credit for Fire Investigation Programs (CIP) | 1.1 | 0 | 1.1 | 0
Fire Investigations (FI) | 20 | 0 | 0 | 0
Fire Investigation Organization & Staffing (IOS) | 8 |  | 0.44
Fire Investigation Organization (IO) | 4 |  | 0.22
Fire Investigation Staffing (IS) | 4 |  | 0.22
Credit for Certification & Training (IQT) | 6 |  | 0.33
Fire Investigator Certification (IQTC) | 3 |  | 0.17
Fire Investigator Continuing Education (IQTE) | 3 |  | 0.17
Use of NFIRS (IRS) | 6 |  | 0
1 inspector for all jurisdictions over 5,000 population, 1 additional inspector for each 40,000 population under the Population Based Method

## X
| 1980 Schedule |  |  | 2012 Schedule
Item 513 - Credit for Engine Companies | Previous Credit | Old Credit Available | New Credit Available | Conversion Credits | Estimates
513. Credit for Engine Companies (CEC) | 10 | 10 | 6 | 6
Item 523 - Credit for Reserve Pumpers | Earned Credit | Old Credit Available | New Credit Available | Conversion Credits | Estimates
523. Credit for Reserve Pumpers (CRP) | 1 | 1 | 0.5 | 0.5
Item 530 - Credit for Pump Capacity | Earned Credit | Old Credit Available | New Credit Available | Conversion Credits | Estimates
532. Credit for Pumper Capacity (CPC) | 5 | 5 | 3 | 3
Item 549 - Credit for Ladder Service | Earned Credit | Old Credit Available | New Credit Available | Conversion Credits | Estimates
549. Credit for Ladder Service (CLS) | 5 | 5 | 4 | 4
Item 553 - Credit for Reserve Ladder and Service Trucks | Earned Credit | Old Credit Available | New Credit Available | Conversion Credits | Estimates | Average Staffing Per Unit | Earned Credit | Should Match Earned Credit
553. Credit for Reserve Ladder and Service Trucks (CRLS) | 1 | 1 | 0.5 | 0.5
[6 empty] | 2 | 5 | # of Engines | # of Ladders | On-Duty Personnel
Item 561 - Credit for Deployment Analysis | Earned Credit | Old Credit Available | New Credit Available | Conversion Credits | Estimates | 3 | 7.5
561. Credit for Deployment Analysis (DA) | 4 | 4 | 10 | 10 |  | 4 | 10 | 1 | 1 | 12
[6 empty] | 5 | 12.5 | Required Personnel | Percent of Required | Credit Earned
Item 571 - Credit for Company Personnel | Earned Credit | Old Credit Available | New Credit Available | Conversion Credits | Estimates | 6 | 15
571. Credit for Company Personnel (CCP) | 15 | 15 | 15 | 15 |  | 6 | 15 | 12 | 100% | 15
Your Average
Item 580 “Credit for Training (CT)” | Earned Credit | Old Credit Available | New Credit Available | See Tab 580 - T | Estimates
581. Credit for Training (CT) | 9 | 9 | 9
Item 730 “Credit for Operational Considerations (COC)” | Earned Credit | Old Credit Available | New Credit Available | Conversion Credits | Estimates
730. “Credit for Operational Considerations (COC)” |  |  | 2
Item 590. Credit for Fire Department: | Earned Credit | Old Credit Available | New Credit Available | Conversion Credits | Estimates
590. Credit for Fire Department | 50 | 50 | 50 | 39 | 0

## Y
Fire Protection Rating Schedule
Divergence Calculator |  |  |  | % Credit Received | Actual Calculator
0 | Credit for Fire Department |  |  | 0% | 0 | CWS
[5 empty] | 0 | (CFD+COC)*0.8 | -5.09
0 | Credit for Water Supply (CWS) |  |  | 0% | 0 | = (CWS - (CFD+COC)*0.8)
|  | 0 | 0.8 |  | 0 | Divergence Points (Water Lower)
0 | Divergence Points |  |  |  | 0 | Divergence Points (Water Higher)
|  |  | 0.5 |  | 0 | Divergence Points
100

## Z
Fire Protection Rating Schedule
Divergence Calculator |  |  |  | % Credit Received | Actual Calculator
0 | Credit for Fire Department |  |  | 0% | 0 | CWS
[5 empty] | 0 | (CFD+COC)*0.8 | -5.09
0 | Credit for Water Supply (CWS) |  |  | 0% | 0 | = (CWS - (CFD+COC)*0.8)
|  | 0 | 0.8 |  | 0 | Divergence Points (Water Lower)
0 | Divergence Points |  |  |  | 0 | Divergence Points (Water Higher)
|  |  | 0.5 |  | 0 | Divergence Points
100

## 507
| Credit Available | Your Score
Section 507 - Fire Department
Automatic Aid (AA1) |  | 0
Communication Facilities - 431 | 0.2
Communication Facilities | 0.15
Dispatch Plan | 0.1
Interdepartment Training | <MAX .35 Points> | 0
Quarterly 3-hour | 0.35
Semiannual 3-hour | 0.2
Annual | 0.1
Radio Communications Interoperability | <MAX .10 Points> | 0
Common dispatch and tactical | 0.1
Common dispatch or tactical | 0.05
SOP's | 0.1

## Table 512
Table 512A - Pumper Equipment and Hose |  | Needed | Points Credit/Unit | Total Points | % of Available Points | Maximum Points on FSRS | Estimate | Direct Points on FSRS
Booster Tank
| 300 Gallon or larger | 300 gallons | 1/10 gallon | 30 | 5% | 0.3 | 15 | 0.15
Hose
| 15' soft-suction or 20' hard-suction | 1 | 12 | 12 | 2% | 0.12 | 6 | 0.06
| 1½", 1¾", or 2" Hose Carried | 400' | 3 per 50' | 24 | 4% | 0.24 | 12 | 0.12
Master Stream Appliance (1000 gpm) |  | 1 | 100 | 100 | 16.67% | 1 | 50 | 0.5
Nozzles
| 2½" Playpipe with shutoff with 3 tips | 1 | 20 | 20 | 3.333% | 0.2 | 10 | 0.1
| 2½" Combination Spray with shutoff | 1 | 30 | 30 | 5% | 0.3 | 15 | 0.15
| 1½" or 1¾" Combination Spray with shutoff | 2 | 10 | 20 | 3.333% | 0.2 | 10 | 0.1
SCBA | (30-minute minimum) | 4 | 24 | 96 | 16% | 0.96 | 48 | 0.48
| Extra Cylinders Carried | 4 | 6 | 24 | 4% | 0.24 | 12 | 0.12
Salvage Covers (minimum size 12' by 14') |  | 2 | 2 | 4 | 0.6667% | 0.04 | 2 | 0.02
Electric Handlights |  | 2 | 2 | 4 | 0.6667% | 0.04 | 2 | 0.02
Hose Clamp |  | 1 | 4 | 4 | 0.6667% | 0.04 | 2 | 0.02
Hydrant Hose Gate (2½") |  | 1 | 4 | 4 | 0.6667% | 0.04 | 2 | 0.02
Gated Wye (2½" x 1½" x 1½") |  | 1 | 4 | 4 | 0.6667% | 0.04 | 2 | 0.02
Radio
| Mounted | 1 | 32 | 32 | 5.333% | 0.32 | 16 | 0.16
| Portable | 1 | 16 | 16 | 2.667% | 0.16 | 8 | 0.08
Ladders
| 12' to 16' roof | 1 | 10 | 10 | 1.667% | 0.1 | 5 | 0.05
| 24' extension or larger | 1 | 16 | 16 | 2.667% | 0.16 | 8 | 0.08
Annual Tests
| Pumper (Table 512B) See below | 1 | 100 | 100 | 16.67% | 1 | 50 | 0.5
| Hose (Table 512C) See below | 1 | 50 | 50 | 8.333% | 0.5 | 25 | 0.25
Total Credit for a Pumper |  |  |  | 600 | 100% | 6 | 300 | 3
Table 512B - Pumper Service Test Program |  |  |  | Total Points |  | Your credit for this pumper
Average interval between 3 most recent tests
| 1 year |  |  | 100 |  | Credit Available | Your Points | Your Credit
| 2 years |  |  | 75 |  | 6 | 300 | 3
| 3 years |  |  | 50
| 4 years |  |  | 25
| 5 years or more |  |  | 0
Table 512C - Hose Service Test Program |  |  |  | Total Points
Average interval between 3 most recent tests
| 1 year |  |  | 50
| 2 years |  |  | 37
| 3 years |  |  | 25
| 4 years |  |  | 12
| 5 years or more |  |  | 0

## Table 542
Table 542A - Equipment for a Service Company |  | Needed | Points Credit/Unit | Total Points | % of Available Points | Maximum Points on FSRS | Estimate | Direct Points on FSRS
SCBA | (30-minute minimum) | 4 | 24 | 96 | 26.97% | 0.49753 | 96 | 0.49753
| Extra Cylinders Carried | 4 | 6 | 24 | 6.742% | 0.12438 | 24 | 0.12438
Salvage Covers (minimum size 12' by 14') |  | 6 | 2 | 12 | 3.371% | 0.062191 | 12 | 0.062191
Electric Generator |  | 1 | 25 | 25 | 7.022% | 0.12956 | 25 | 0.12956
Portable Floodlight (500 watt) |  | 3 | 4 | 12 | 3.371% | 0.062191 | 12 | 0.062191
Smoke Ejector (5,000 cfm) |  | 1 | 20 | 20 | 5.618% | 0.10365 | 20 | 0.10365
Portable Thermal Cutting Unit |  | 1 | 20 | 20 | 5.618% | 0.10365 | 20 | 0.10365
Saw - Power (chain or heavy duty rotary type) |  | 1 | 20 | 20 | 5.618% | 0.10365 | 20 | 0.10365
Electric Handlights |  | 4 | 2 | 8 | 2.247% | 0.041461 | 8 | 0.041461
Pike Pole (plaster hook)
| 3' or 4' | 2 | 2 | 4 | 1.124% | 0.02073 | 4 | 0.02073
| 6' or longer | 4 | 2 | 8 | 2.247% | 0.041461 | 8 | 0.041461
Radio
| Mounted | 1 | 32 | 32 | 8.989% | 0.16584 | 32 | 0.16584
| Portable | 1 | 16 | 16 | 4.494% | 0.082921 | 16 | 0.082921
Ladders
| 24' extension or larger | 1 | 25 | 25 | 7.022% | 0.12956 | 25 | 0.12956
| 16' roof or longer | 1 | 25 | 25 | 7.022% | 0.12956 | 25 | 0.12956
| 10' attic or longer | 1 | 4 | 4 | 1.124% | 0.02073 | 4 | 0.02073
| 14' combination or longer | 1 | 5 | 5 | 1.404% | 0.025913 | 5 | 0.025913
Total Credit for a Service Company |  |  |  | 356 | 100% | 1.845 | 356 | 1.845
46.11%
Table 542B - Additional Equipment for a Ladder Company |  | Needed | Points Credit/Unit | Total Points | % of Available Points | Maximum Points on FSRS | Estimate | Direct Points on FSRS
Ladder
| 16' or longer roof | 1 | 25 | 25 | 6.01% | 0.12921 | 25 | 0.12921
| 35' or longer extension | 1 | 25 | 25 | 6.01% | 0.12921 | 25 | 0.12921
Elevated Stream Device |  | 1 | 100 | 100 | 24.04% | 0.51683 | 100 | 0.51683
Large Spray Nozzle (1000 gpm) |  | 1 | 16 | 16 | 3.846% | 0.082692 | 16 | 0.082692
Aerial ladder/Elevating Platform |  | 1 | 200 | 200 | 48.08% | 1.0337 | 200 | 1.0337
Annual Tests (Table 542C) - See Below |  | 1 | 50 | 50 | 12.02% | 0.25841 | 50 | 0.25841
Total Credit for a Ladder Company |  |  |  | 416 | 100% | 2.15 | 416 | 2.15
53.89%
Table 542C - Aerial Ladder/Elevating Platform Test Program |  |  |  | Total Points |  | Your credit for this service/aerial apparatus
Average interval between 3 most recent tests
| 1 year |  |  | 50 |  | Credit Available | Your Points | Your Credit
| 2 years |  |  | 37 |  | 4 | 772 | 3.995
| 3 years |  |  | 25
| 4 years |  |  | 12
| 5 years or more |  |  | 0