REQUIRED SUBMITTALS

FOR COMMERCIAL &

MULTI-FAMILY RESIDENTIAL

PERMIT APPLICATIONS

Call Building Codes – 218-299-5424 for questions

All requests for building permits for commercial and multi-family dwellings or for additions to existing commercial structures must be accompanied by the following documentation (one hard copy and one pdf (electronic) copy of all plans pages including pdf of building component parts (hvac, electrical and alarm specs):

1.	Civils - Site Plan (include any existing structures)

a.  	lot lines

b.  	all utilities

c.  	dumpster locations

d.  	site drainage plan (elevations needed)

e.  	fire department vehicle access

f.	legal description (lot and block)

g.	address

h.	zoning requirements (boulevard trees, parking spaces, location of exterior 				equipment (if any)

2.	Building plan pages, include:

a.  	Architectural

b.	Structural

c.	Fire protection

d.	Alarm

e.	Electrical

f.	Plumbing

g.	HVAC (mechanical)

3. 	Energy Code compliance certificates

a.	Envelope

b.	HVAC

c.	Lighting

d.	Service water heating

4.	Special Inspections –

a. 	 Inspectors, include certifications

b.	What inspections need to be done

5.	Storm water (erosion control) permit application

6.	Radon evacuation system (currently required on any building containing an “R” occupancy.

7.	Plan review application

8.	Building permit application

9.  	Building component part spec sheets, i.e. hvac equipment, alarms, electrical fixtures and panels, etc.

All plans must be neat, drawn to scale, and clearly indicated the nature and extent of the work.  No permits will be issued until complete plans are made available for review.  No work will be permitted to start before the permit is issued, and no plumbing or mechanical permits will be issued prior to obtaining a building permit.